## Slide 1
PSE ASIA 2022
Model Predictive Control On An
Arduino Device
Subhi Gupta and Hari S. Ganesh
Chemical Engineering

## Slide 2
Content
Introduction to Temperature Control Lab (TCLab)
System Modeling and Identification
Model Predictive Control (MPC) on TCLab
Data Driven State Space Equations
Parametric and Multiparametric programming
Explicit MPC (mp-MPC) on TCLab
Bilevel Model Predictive Control (BMPC)
Bilevel Programming problems (BLPP)

## Slide 3
Temperature Control Lab (TCLab)
An application of feedback control with an Arduino, an LED, two heaters, and two temperature sensors.
A MIMO device for understanding the principles of modeling, estimation, and control.
Image Source Link: http://apmonitor.com/pdc/index.php/Main/ArduinoTemperatureControl
Introduction
Temperature sensors and heater transistors with connections to an Arduino Leonardo.
Temperature Sensors
Heaters
Epoxy

## Slide 4
Temperature Control Lab (TCLab)
.
Working Principle
PC
(MATLAB/SIMULINK)
ARDUINO UNO
POWER SUPPLY DC
HEATER
TIP41C
TEMPERATURE SENSOR (LM35)
Analog
Signal
PWM
(0-100%)
.
Reference: Application of different control algorithms on a ‘home-made’ temperature control lab kit.
Reference: https://apmonitor.com/pdc/index.php/Main/TCLabSensor
Reference: The basics of Arduino: Reading Voltage- Device Plus
Microcontroller board for hardware and software communication.
Implementation of control algorithm
Analog output control
Data Acquisition (conversion of analog signal to a digital signal to be understood by software)

## Slide 5
System Modeling and Identification
Dual Heater Modeling of TCLab (MIMO System)
Two energy balance equations that describe the dynamic temperature response
Reference link: apmonitor.com/do (John D. Hedengren)
Convective Heat Transfer
Radiative Heat Transfer
Heater 1
Heater 2

## Slide 6
Model Predictive Control
Introduction
MPC Controller
(Objective Function + Model + Constraints)
Plant
State Estimator
Reference
MPC solves an optimization problem at each kth time step
Image Source link: Wikipedia
Formulation
Quadratic Programming (QP) Problem

## Slide 7
:
Linear Model Predictive Control on TCLab
At each sampling instant the quadratic problem was solved using cplexqp solver.
System Model
Formulation
Constraints
Objective function

## Slide 8
Data-Driven State Space Equations
The differential equations representing the physical system were first linearized around the steady-state point.
System Identification
MATLAB System Identification Toolbox
(Data-Driven Toolbox)
The resulting pseudo states equations obtained in matrix form were used as linear constraints in MPC formulation.
The Step Response Analysis method was employed to obtain the data.
TCLab System captured using linear dynamics

## Slide 9
Data Driven State Space Equations
Steady State Response
Steady-state achieved for Q1=30 and Q2=30
Steady-state achieved for Q1=30 and Q2=30

## Slide 10
Data Driven State Space Equations
Step Response Analysis
Number of states identified=4
.
Temperature simulation for step changes in Q1 and Q2

## Slide 11
Closed-loop Simulation
Online MPC Control Calculations
Online MPC
Solving Online MPC is computationally complex.
Explicit MPC can greatly simplify runtime operation.
MPC formulation was solved multi-parametrically (mp-MPC).

## Slide 12
Parametric Programming
Takes into account varying parameters (𝜃).
Approach is to obtain the optimal solution (𝒙) as an explicit function of the parameters.
General parametric nonlinear programming problem
An Effective Solution Strategy
Reference: Faísca NP, Dua V, Pistikopoulos EN. 2007 Feb 9;1:1-23.
Image Source: https://parametric.tamu.edu/POP/
To solve such programming problems
POP toolbox was used in our work.

## Slide 13
Solution of mp-QP: 𝒙(𝜃)𝘪=𝑊𝘪𝜃 + 𝘸 CR𝘪: Φ𝘪𝜃≤𝜙𝘪
Multiparametric Programming
Formulation of Multiparametric Linear (mp-LP) and Quadratic Programming (mp-QP)
The parameter space(𝜃 ) is characterised into
nine set of critical regions (CRi).
Each critical region has its own function optimal solution x*(𝜃 ) and Z*(𝜃 )
Reference: Faísca NP, Dua V, Pistikopoulos EN. 2007 Feb 9

## Slide 14
Explicit MPC
Solves the optimization problem offline for all the states within a range.
Optimal solution is precomputed for each state within a range offline.
At each time step the region in which the current state lies is searched and then the linear function is evaluated to get the current control action.
Advantages
u(x)
x
a
b
c
u(x)
Solution space is divided into several regions
Each region is mapped into unique optimal solution
Reference: Tøndel P, Johansen TA, Bemporad A. An algorithm for multi-parametric quadratic programming and explicit MPC solutions.

## Slide 15
Closed Loop Simulation Results
Online MPC
mp-MPC
Online MPC and mp-MPC results match.
Verification and Comparison
No. | Type of MPC | Total runtime (s)
1 | Online MPC | 5.351
2 | mp-MPC | 0.912
Comparison based on runtime operation.
Runtime operation reduced by 83.52%.

## Slide 16
Bilevel Model Predictive Control (BMPC)
Controller 1 (Optimisation Problem 1)
Controller 2 (Optimisation Problem 2)
System
Avraamidou S, Pistikopoulos EN.In Computer aided chemical engineering 2017 Jan 1.Elsevier.
Solving MPC in hierarchical manner
16
Hierarchy of process control activities
To measure process variables and implement the calculated control actions.
Standard feedback and feedforward control techniques.
Model predictive control (MPC) strategy.
Application of Bilevel
Hierarchical model Predictive Control (MPC) structure
Use of a multi-parametric bi-level algorithm
for the development of
Explicit Hierarchical Controllers.

## Slide 17
Bilevel Programming Problem (BLPP)
Bilevel Optimization Model
Reference: Ryu JH, Dua V, Pistikopoulos EN. 2004 Jun 15
Leader’s problem or
High level decision problem
Follower’s problem or
Low level decision problem
First level (production model) is constrained by another optimization problem (second level,the distribution model).
Process configuration of an enterprise
Aim is to minimise both Production cost and distribution cost.

## Slide 18
Bilevel Programming Problem (BLPP)
Formulation of Linear BLPP (LP/BLPP)
Inner Level solved multi-parametrically
Reference: Faísca, Nuno P., et al. Journal of Global Optimization 38.4 (2007).
Five critical regions are obtained with y as an explicit function of x.

## Slide 19
Bilevel Programming Problem (BLPP)
Solution of a linear bilevel programming problem.
The solution obtained after solving five LP outer level problem
Fields | Optimised variables () | Function values
1 | (0.5000 , 0.5000) | -6.00
2 | (0.5000 , 0.5000) | -6.00
3 | (0 , 0.7500) | -23.00
4 | (0.5000 ,0.5000) | -6.00
5 | (0,0.9000) | -26.00
Fields |  | Function values
1 | (0.5000 , 0.5000) | -6.00
2 | (0.5000 , 0.5000) | -6.00
3 | (0 , 0.7500) | -23.00
4 | (0.5000 ,0.5000) | -6.00
5 | (0,0.9000) | -26.00
Global optimum solution
Fields | Optimised variables (, ) | Function values
1 | (0,0,0) | 1.5
2 | (0,0,0) | 1.5
3 | (0.0.5,0) | 2
4 | (0,0,0) | 1.5
5 | (0,0.6,0.4) | 3.2
Fields |  | Function values
1 | (0,0,0) | 1.5
2 | (0,0,0) | 1.5
3 | (0.0.5,0) | 2
4 | (0,0,0) | 1.5
5 | (0,0.6,0.4) | 3.2
Substitution of optimized variables to get solutions to inner-level problems.

## Slide 20
Bilevel Model predictive control (BMPC)
Explicit Hierarchical Controller on TCLab
) +
) +
) +
) +
Case Study 1
Case Study 2

## Slide 21
TCLab system is a simple MIMO device.
Explicit MPC and Hierarchical Controller algorithms were
easy to understand.
Bilevel Model predictive control (BMPC)
Case Study 3
Explicit Hierarchical Controller on TCLab
) +
) +
) +
) +

## Slide 22
Future Work
Reference: Ryu JH, Dua V, Pistikopoulos EN. A bilevel programming framework for enterprise-wide process networks under uncertainty.
Reference: Avraamidou, S. and Pistikopoulos, E.N., 2017. A multi-parametric bi-level optimization strategy for hierarchical model predictive control.
Strengthening the understanding of bilevel and multilevel decision-making problems.
A better understanding of solving Hierarchical MPC Control structures
Extending the BMPC algorithm to more complex systems like buildings in
the future.
Started with a simple system

## Slide 23
Acknowledgment
I am thankful to the Post-doc in our research group Dr. Radhe Saini for his guidance during my course project.
I am also thankful to Prof. Hari S. Ganesh’s research group
members for their support.
Thank You!